PH 481			Physical Optics				Winter 2012

Laboratory #4		Week of February 6

Read:	pp. 464-471 and pp. 485-497, of "Optics" by Hecht

Do:	1.  Experiment IV.1: Fraunhofer diffraction by rectangular and circular apertures

2. Experiment IV.2: Fresnel diffraction by circular apertures

Experiment IV.1: Fraunhofer diffraction by rectangular and circular apertures

Expand the HeNe beam. Apply the beam to a small circular aperture. Observe the pattern at a distance of at least ~1 m from the aperture and measure the positions and intensities of the bright and dark regions (in the plane perpendicular to the beam propagation direction). Use the USB camera to take an image of the diffraction pattern and analyze the image comparing the intensity distribution to the theoretical prediction.

Repeat with a rectangular aperture.

Experiment IV.2:  Fresnel diffraction by circular apertures

In this experiment you will explore the phenomena of Fresnel diffraction from circular obstacles.  The schematic for this experiment is shown below.  All the components in the third arm are mounted on an optical rail for ease of alignment.  The telescope produces a large beam which is needed for some of the apertures and in the next experiment.  The apertures are in a slide mount and can be held in a filter holder.  The diffraction patterns can be viewed on a white board at the end of the table or on the wall (nothing off the wall please).  A 25 mm imaging lens will allow you to magnify the diffraction pattern (this should help when taking an image with the USB camera, though you must account for lens magnification in you image analysis).

Use one of the circular apertures to form a diffraction pattern.  You should now see diffraction patterns as shown in Fig. 10.43 of Hecht (p.493).  Those patterns are for apertures of different sizes, all measured at the same distance downstream.  You can observe these different patterns from a single aperture size by moving your observing screen, or by moving your imaging/magnification lens.  At a distance x from the aperture, the number of Fresnel zones m within the aperture (of radius R) is given by

,

assuming a plane wave input.  The on-axis intensity will be nearly zero when there are an even number of Fresnel zones within the aperture.  Thus, the positions of the on-axis intensity minima can be written as

,

where n is an integer.

Use an aperture with a diameter of approximately 1 mm.  First, verify that you can observe diffraction in the Fraunhofer regime.  Use the USB camera to take images of several diffraction patterns in the Fresnel regime.  Measure the positions of the minima at each target/lens distance and plot them versus 1/n to determine the aperture radius.

Equipment needed:

Item	Qty	Source (part #)

Helium-Neon Laser	1	Melles Griot 05 LHP 121

USB Camera	1

Fresnel zone plate slide	1

Circular and rectangular 	1

apertures

Pinhole slide	1

Optical Rail	1	Newport PRL-36

Rail carriage	5	Newport PRC-1

Mirror mount	2	Thor Labs KM1

Al mirror	2	Newport 10D10ER.1

100 mm lens	1	Newport KPX094

25 mm lens	1	Newport KPX076

-25 mm lens	1	Newport KPX043

Iris (adjustable)	2	Thor Labs ID12

Filter holder	1	Thor Labs FH2

Mounting posts	8	Thor Labs P3

Cards (for laser blocking)	limitless

Laser block	1

Ruler	1

# Text boxes

Laser

Telescope

Aperture